## Sheet2
Northwest Water Source
Rainfall | Catchment Water Budget for Feasibility
| Number of Users | 1 | Larry Thompson
| Gallons per day/person | 50 | Shaw Rd
| Supplement from well | 0 | Bellingham, (skagit co)
STEP 1 | Gallons required per day | 50 | (users x gpd/p =)
| Days in residence/year | 120
STEP 2 | Total water use per year | 6000 | (gpd x days =)
| Rainfall | 28
| Water per sq.ft./inch of rain | 0.623
STEP 3 | Gallons water/sq.ft./year | 17.444 | (rainfall x .623 =)
| Total water needed per year | 6000
| Gallons water/sq.ft./year | 17.444
STEP 4 | sq.ft.collection area needed | 343.9578 | (water needed/gpsqft =)
| Days storage required | 90
| Gallons required per day | 50
STEP 5 | Gallons of storage required | 4500 | (days stg x gpd =)
System requirements for the above system are as follows
Rooftop catchment collection area required for this design based on rainfall in the surrounding area.
REQUIRED | 343.9578 | sq.ft.
Storage capacity required to supply system for periods without rain (summer)
REQUIRED | 4500 | gallons
ROOF TOP COLLECTION AREA |  |  |  | Sq. Ft.
| Main House |  |  | 1000
| Studio |  |  | 500
Garage
| TOTAL COLLECTION AREA PROVIDED |  |  | 1500
| TOTAL WATER AVAILABLE ANNUALLY |  |  | 26166
| TOTAL WATER STORAGE REQUIRED |  |  | 4500
All roofing material to be enameled metal or other approved impervious surface.
Average Rainfall by location
| South Lopez |  |  | 15"/yr
| South San Juan |  |  | 18/yr
| Fisherman's Bay |  |  | 20"/yr
| Friday Harbor |  |  | 22"/yr
| Central San Juan, North Lopez |  |  | 24"/yr
| Shaw, Henry, Crane |  |  | 26"/yr
| Roche Harbor, Orcas Landing |  |  | 27"/yr
| Deer Harbor, West Sound, West Orcas |  |  | 28"/yr
| Eastsound, Buck Mt., N.W. Orcas, Waldron |  |  | 29"/yr
| Olga, Pt. Lawrence, Obstruction Is. |  |  | 32"/yr
| Northshore Orcas, Mt Constitution, Twin Lakes |  |  | 39"/yr
Northwest Water Source Friday Harbor, Wash
360-317-4192 | water@interisland.net
Directions for use of this work sheet.
Choose the average rainfall from the listing at the bottom of page one
adjust the variables (red figures above) for your conditions
note requirements (blue figures above) to size your system
insert planned structures (green figures above) to determine whether the proposed structure
is of adequate size to supply required water. Don"t downsize storage required if you have
more than adequate roof footprint.
roof pitch has no bearing on catchment area except in areas of high wind during storms.
All math formulas are already in this worksheet. If you change the variables, the required totals will be changed to reflect
automatically change with them. If you have any questions, Call Tim Pope at 360-378-8252

## Sheet3 (hidden)
LIST OF MATERIALS Must be approved by one of the following agencies
NSF standard 51/61-EPA potable use-FDA materials-CSA/ANSI or AWWA
Item | Material Supplied | Manufacturer | model | number
Roofing Material | Enameled Steel seamless roofing
Storage | Rotomold Poly Storage Tank | Century Plastics VU | 2340 | 4
Transfer tank/prefilter | Rotomold Poly Storage Tank | Premier Plastics | 60 | 1
Transfer Pump | Stainless Sump Pump | Grundfos | GP350 | 1
Pressure Pump | Jet Pump | Sears | .5hp | 1
Pressure Tank | Wellrite | Sealed | 40 Gal | 1
Float Switches | starite | plastic with weight |  | 2
Disenfection | ultraviolet | Pura Inc | Bigblue | 1
Filtration | 10mic sed/.5 mic carbon block | Pura Inc | Bigblue | 1
Prefiltration | 10 mesh screen / transfer pump | Greywater |  | 1
Predisenfection | Hand Chlorinate
Piping | PVC sch 40 NSF approved
valves | code approved
Operation and Maintenance
Roofing | Roof should be cleaned with a garden blower when dry. Should be cleaned at least
once per quarter to prevent deposits to build up and cause moss growth.
Gutters | Gutters should be cleaned at least monthly during winter storm season to prevent
accumulation of debris, leaves and needles. Basket strainers should be installed in
the top of downspouts to prevent accumulationsof debris from getting in system.
Transfer tank | Screen should be cleaned monthly. Tank should be emptied quarterly and cleaned
with a shop vacuum.
Chlorination | Hand chlorination should be done weekly during rainy season by placing 1/8 cup
houshold bleach in transfer tank.
Hand chlorination during summer (dry season) by placing 1 cup of houshold bleach
in each storage tank monthly.
Filtration | Sediment filter should be changed every 6 months or when pressure decreases.
.5 micron carbon block should be changed every 6 months or when pressure
decreases.
If home is to be unoccupied for long periods, filter bodies should be drained to
prevent damage from freezing. Also, Filters should be replaced with new if system
is unused for more than 3 months.
Ultra Violet System | UV bulb should be replaced annually.
Quartz Glass tube surrounding bulb should be wiped with clean cloth every 6 months
Uv unit should be drained during long periods when home is unnoccupied.
Do not look directly at Ultra Violet bulb when it is lighted.
Supporting documentation for required items included with this application for Alternative Water System
NORTHWEST WATER SOURCE/GREYWATER MANAGEMENT, FRIDAY HARBOR,WASH
p.o. box 2766, 378-8900 fax 378-8790 e-mail water@waterstore.com